MAIL_DUE_DATE

OWNER_FULL_NAME

OWNER_ADDRESS_ONE

OWNER_ADDRESS_TWO

OWNER_CITY, OWNER_STATE OWNER_ZIP

Violation Address:  LOCATION_ADDRESS_ONE_TWO

Account #:  LOC_CUSTOM_13 Parcel ID #:  LOC_CUSTOM_14

VIOLATION:  DESC

Dear OWNER_FULL_NAME:

It has been brought to our attention that there is a plumbing problem on your property. This is a violation of the International Property Maintenance Code and repairs are required to be made by a licensed plumber. A violation of one or more of the following ordinances was reported to or observed by city staff:

505.1 General. Every sink, lavatory, bathtub or shower, drinking fountain, water closet or other plumbing fixture shall be properly connected to either a public water system or to an approved private water system. All kitchen sinks, lavatories, laundry facilities, bathtubs and showers shall be supplied with hot or tempered and cold running water in accordance with the International Plumbing Code.

505.3 Supply. The water supply system shall be installed and maintained to provide a supply of water to plumbing fixtures, devices and appurtenances in sufficient volume and at pressures adequate to enable the fixtures to function properly, safely, and free from defects and leaks.

505.4 Water heating facilities. Water heating facilities shall be properly installed, maintained and capable of providing an adequate amount of water to be drawn at every required sink, lavatory, bathtub, shower and laundry facility at a temperature of not less than 110F (43C)…

506.2 Maintenance. Every plumbing stack, vent, waste and sewer line shall function properly and be kept free from obstructions, leaks and defects.

You have ten (10) days from the date of this letter to comply by having a licensed plumber make the necessary repairs and obtain any permits that may be required. You must contact the inspector whose signature is at the bottom of this letter to determine if an inspection is necessary or if a copy of the plumber’s invoice is sufficient to show that compliance has been achieved. Failure to comply could result in charges being filed against you in municipal court, water service terminated to the property, and/or any other legal remedy available to the city in order to achieve compliance.

If you have any questions, concerns, or need to contact the inspector about this issue, please call this office at 405-xxx-xxxx. The nature of this job requires that you call to speak or meet with me as walk-ins cannot be honored. Thank you in advance for your cooperation in this matter.

Sincerely,

ASSIGNED_STAFF

Code Compliance Inspector